## 5PX2000RTNG2
General specifications | Product Name | Eaton 5PX G2 UPS
| Catalog Number | 5PX2000RTNG2
| UPC | 743172105783
| Product Length/Depth | 23.7 in
| Product Height | 3.4 in
| Product Width | 17.2 in
| Product Weight | 65.3 lb
| Warranty | 3 year on electronics, 3 year on batteries with registration
| Compliances | CE Marked REACH
| Certifications | CULus RoHS NOM ENERGY STAR certified IEC 62040-1
Especificaciones del producto | Battery management | ABM technology (3-stage charging extends battery service life by 50% and provides advance warning for battery replacement)
| VA rating | 1950 VA
| Wattage | 1950 W
| Form factor | Rack/tower
| Receptacle | (1) L5-20R, (6) 5-20R
| Standard factory warranty | 3-year factory warranty with regsitration -3 years -Parts, electronics and batteries coverage -Standard ground shipping -Technical support
| Package contents | 5PX2000RTNG2 UPS Tower pedestal feetFour-post rail kitQuick start guideSafety guideUSB cableRS-232 cableEaton Gigabit Network card (NETWORK-M2)
| Input connection | 5-20P
| Runtime graph | View runtime graph
| Software compatibility | Brightlayer Data Centers suite
| User interface | LCD graphical display
| Battery replacement | User replaceable
| Battery type | Sealed, lead-acid
| Efficiency | 98%
| Rack size | 2U
| Input cord length | 10 ft
| Extended service plans | ADVANCED DEPOT EXCHANGE-5-YEAR DEPOT REPAIR: 5SW5Y-2500UC-Expedited parts coverage for 5 years-Parts, electronics and UPS batteries coverage-Next business day shipping-Technical supportON-SITE 24X7, NEXT DAY RESPONSE2 YEAR UPGRADE: WUN72XXX-2509UC-On-site expedited parts and labor coverage for first 2 years-Parts, electronics and UPS batteries coverage-Eaton on-site labor coverage-24x7 coverage, next day response-Next day shipping-Technical support3 YEAR FLEX PLAN: FLN73XXX-2509UC-On-site parts and labor coverage for years 3 to 5-Parts, electronics and UPS batteries coverage-24x7 on-site labor coverage, next day response-Next day shipping-Technical support
| Special features | Gigabit Network Card (NETWORK-M2) card is included and pre-installed. UPS ship-in-rack option for integration into packaged deployments simplifying set up and getting you online quicker (available with the RK4PRS 4-post rail kit)
| Color | Black
| Extended battery capability | Add up to 4 extended battery modules (EBM). Part number 5PXEBM72RTG2
| Topology | Line-interactive
| BTU Rating | Online: 154, Battery: 744
| Input nominal voltage | 120V
| Input power factor | 1
| Expansion slots | One slot, Gigabit Network Card (NETWORK-M2) is included
| Nominal frequency | 50/60 Hz
Date | Wed Nov 09 2022